## Introduction
This reporting template is to be used for delivering the requirements of the Annex from the Commission Implementing Decision 2014/768/EU. The Annex lists the information, that Member States shall make available to the Commision, on integrated emission management techniques applied in mineral oil and gas refineries, pursuant to Directive 2010/75/EU.
Information for the reporting years 2017, 2018 and 2019 is to be submitted by 30 September 2020 at the latest.
Use the sheet 'Response to Annex' to report general information, information on the scope of the integrated emission management techniques and the applicable emission limit values, information on the monitoring system and Information on monitoring results.
Reference: Commission Implementing Decision (EU) 2014/768: | http://data.europa.eu/eli/dec_impl/2014/768/oj

## Response to Annex SO2
Please only adjust the number of lines (addition or deletion)
| 1. General information | [5 empty] | Choose the pollutant | 2. Scope of the integrated emission management techniques and the applicable emission limit values | [14 empty] | 3. Information on the monitoring system |  | 4. Information on monitoring results | [5 empty] | Comments (optional)
| ProductionInstallation inspire ID (same as EU-Registry) |  | InstallationName (same as EU-Registry) | Operator name | Installation address (street, postal code, city) | Country |  | 2.1. List and description of combustion and process units covered by the integrated emission management techniques for NOx and SO2 | [5 empty] | 2.2 Applicable emission limit values for NOx and SO2 under the integrated emission management techniques | [10 empty] | Reference year
| Local ID | NameSpace | [5 empty] | Unit Name | Type of unit | Rated thermal input (for combustion units) | Fuel type(s) fired (for combustion units) | New or existing unit | Substantial and structural changes, e.g. in operation or fuel use, during the reporting period, which affected the applicable BAT-associated emission levels (BAT-AELs) | Date of implementation of the BAT conclusions (within 4 years of publication) | Applicable emission limit value | Confirm units: mg/Nm3 | averaging period | reference conditions | How these limit values were determined in relation to BAT 57 and BAT 58 set out in the CID 2014/738/EU | Which emission concentrations were considered for each unit concerned in relation to BAT 57 and BAT 58 and in comparison with the individual BAT-AELs and the BAT-associated environmental performance levels (BAT-AEPL) for waste gas sulphur recovery units | Which flue-gas flow rates (or other factors) were used as the weighing factor for each unit and how these were determined | Which other elements or factors were used to establish the limit values | 3.1.Description of the monitoring system used for determining the emissions under the integrated emission management techniques | 3.2. Details on the parameters measured and calculated, the type (direct, indirect) and methods of measurements used, the calculation factors used (and their justification) and the frequency of monitoring | yyyy | Month | (a) Average emission concentration across all units concerned (mg/Nm3, all monthly averages during a year) | (b) Total monthly emission across all units concerned (tonnes/month) | (c) average emission concentration for each unit concerned (mg/Nm3, all monthly averages during a year) | (d) flue gas flow rate for each unit concerned (Nm3/hour, all monthly averages during a year)
Name BUBLE SO2 | 37012102.FACILITY | SK.MZP | SLOVNAFT, a. s. | SLOVNAFT, a. s. | Vlčie hrdlo 1 824 12 Bratislava | Slovakia | SO2 | [6 empty] | 01/11/2018 | 414 (A Bubble limit of 437 mg / Nm3 was calculated, but the permitting authority gave us a stricter limit of 414 mg / Nm3) | mg/Nm3 | month | 3% | Based on the calculation according to the calculation formula stated in BAT 58 | [5 empty] | 2019 | January | 104.57 | 71.19
[26 empty] | February | 321.11 | 185.32
[26 empty] | March | 274.09 | 171.5
[26 empty] | April | 205.16 | 106.35
[26 empty] | May | 248.38 | 88.69
[26 empty] | June | 257.25 | 75.24
[26 empty] | July | 268.51 | 113.5
[26 empty] | August | 204.5 | 103.06
[26 empty] | September | 240.12 | 137.5
[26 empty] | October | 154.58 | 92.85
[26 empty] | November | 113.06 | 80.41
[26 empty] | December | 172.5 | 296.26 |  |  | During the exception, the Power plant is outside the bubble and it has an individual limit.
Atmosfericko vákuová destilácia (AVD6) Atmospheric and Vacuum Crude Distillation (ACD6) | [6 empty] | SO2 | AVD6 | Combustion unit | 66,75 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 35mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Periodic measurement and Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 58. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (SO2concentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 58. Software is used for the calculation. | 2019 | January |  |  | 116 | 32 239 242,88
[11 empty] | NaturalGas | [14 empty] | February |  |  | 116 | 29 003 046,70
[26 empty] | March |  |  | 116 | 28 835 781,05
[26 empty] | April |  |  | 116 | 26 673 303,77
[26 empty] | May |  |  | 116 | 0 | Out of operation
[26 empty] | June |  |  | 116 | 0 | Out of operation
[26 empty] | July |  |  | 116 | 20 883 985,12
[26 empty] | August |  |  | 116 | 26 932 228,81
[26 empty] | September |  |  | 251.46 | 27 860 974,77 | Continuous monitoring since 09/2019
[26 empty] | October |  |  | 296.11 | 24 594 371,08
[26 empty] | November |  |  | 160.51 | 26 458 394,09
[26 empty] | December |  |  | 80.85 | 27 405 575,99
Atmosferická destilcáia (AD5) Atmospheric Distillation (AD5) | [6 empty] | SO2 | AD5 | Combustion unit | 49,42 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 35mg/Nm3 | Representative hourly fuel consumption at combustion unit * emission factor of flue gas from used fuel type | Periodic measurement | Based on the calculation according to the calculation formula stated in BAT 58. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (SO2concentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 58. Software is used for the calculation. | 2019 | January |  |  | 13 | 21 654 732,67
[11 empty] | NaturalGas | [14 empty] | February |  |  | 13 | 20 949 340,52
[26 empty] | March |  |  | 13 | 22 510 385,89
[26 empty] | April |  |  | 13 | 20 518 628,16
[26 empty] | May |  |  | 13 | 18 170 070,70
[26 empty] | June |  |  | 11,66 | 22 070 161,98
[26 empty] | July |  |  | 10,5 | 5 989 847,05
[26 empty] | August |  |  | 10,5 | 2 471 924,45
[26 empty] | September |  |  | 8 | 19 829 772,99
[26 empty] | October |  |  | 8 | 18 559 161,37
[26 empty] | November |  |  | 8 | 19 178 706,83
[26 empty] | December |  |  | 8 | 19 618 540,83
Hydrokrak ťažkých zvyškov (RHC) Residual Hydrocracker (RHC) | [6 empty] | SO2 | RHC | Combustion unit | 49,26 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 35mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 58. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (SO2concentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 58. Software is used for the calculation. | 2019 | January |  |  | 55.86 | 19 684 746,34
[11 empty] | NaturalGas | [14 empty] | February |  |  | 60.94 | 16 626 453,26
[26 empty] | March |  |  | 65.41 | 19 249 317,02
[26 empty] | April |  |  | 84.48 | 16 702 375,22
[26 empty] | May |  |  | - | 0 | Out of operation
[26 empty] | June |  |  | - | 0 | Out of operation
[26 empty] | July |  |  | - | 0 | Out of operation
[26 empty] | August |  |  | 53.4 | 6 193 470,74
[26 empty] | September |  |  | 48.43 | 16 414 059,40
[26 empty] | October |  |  | 41.31 | 4 640 788,34
[26 empty] | November |  |  | 45.65 | 15 679 727,46
[26 empty] | December |  |  | 50.26 | 17 949 986,32
Hydrogenácia vákuových destilátov (VGH) Vacuum Gasoil Hydrotreating (VGH) | [6 empty] | SO2 | VGH | Combustion unit | 32,05 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 35mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 58. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (SO2concentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 58. Software is used for the calculation. | 2019 | January |  |  | 41.67 | 9 252 976,96
[11 empty] | NaturalGas | [14 empty] | February |  |  | 47.06 | 7 608 846,22
[26 empty] | March |  |  | 52.27 | 8 680 380,70
[26 empty] | April |  |  | 62.99 | 8 034 934,26
[26 empty] | May |  |  | - | 0 | Out of operation
[26 empty] | June |  |  | - | 0 | Out of operation
[26 empty] | July |  |  | 28.4 | 2 326 357,92
[26 empty] | August |  |  | 54.46 | 6 558 344,16
[26 empty] | September |  |  | 36.93 | 7 840 390,48
[26 empty] | October |  |  | 31.03 | 8 169 640,28
[26 empty] | November |  |  | 36.64 | 7 514 484,24
[26 empty] | December |  |  | 41.74 | 7 208 960,56
Vodíkáreň (HPP) Hydrogen Production Plant (HPP) | [6 empty] | SO2 | HPP | Combustion unit | 90,86 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 35mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 58. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (SO2concentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 58. Software is used for the calculation. | 2019 | January |  |  | 1.32 | 58 924 251,18
[11 empty] | NaturalGas | [14 empty] | February |  |  | 1.4 | 48 649 543,22
[26 empty] | March |  |  | 1.58 | 59 122 598,80
[26 empty] | April |  |  | 1.69 | 50 429 831,32
[26 empty] | May |  |  | - | 0 | Out of operation
[26 empty] | June |  |  | - | 0 | Out of operation
[26 empty] | July |  |  | 1.92 | 29 610 967,60
[26 empty] | August |  |  | 2.28 | 42 422 563,88
[26 empty] | September |  |  | 2.26 | 50 845 159,86
[26 empty] | October |  |  | 2.16 | 46 107 969,14
[26 empty] | November |  |  | 2.12 | 52 969 278,46
[26 empty] | December |  |  | 1.7 | 55 876 792,56
KHK -Výroba vodíka (VV) KHK -Hydrogen Production Plant (KHK-VV) | [6 empty] | SO2 | KHK -VV | Combustion unit | 74,94 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 35mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Periodic measurement and Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 58. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (SO2concentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 58. Software is used for the calculation. | 2019 | January |  |  | 8 | 55 049 860,61
[11 empty] | NaturalGas | [14 empty] | February |  |  | 8 | 46 849 449,74
[26 empty] | March |  |  | 8 | 51 020 301,58
[26 empty] | April |  |  | 8 | 48 548 702,30
[26 empty] | May |  |  | 8 | 29 925 886,22
[26 empty] | June |  |  | 8 | 41 868 801,93
[26 empty] | July |  |  | 8 | 38 974 142,51
[26 empty] | August |  |  | 8 | 38 006 838,55
[26 empty] | September |  |  | 0.08 | 40 768 378,95 | Continuous monitoring since 09/2019
[26 empty] | October |  |  | 0 | 40 702 132,05
[26 empty] | November |  |  | 0.03 | 49 301 017,53
[26 empty] | December |  |  | 0.61 | 51 640 863,12
KHK-Vákuová destilácia (VD) KHK -Vacuum Distillation (KHK-VD) | [6 empty] | SO2 | KHK-VD | Combustion unit | 29,6 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 35mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Periodic measurement and Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 58. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (SO2concentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 58. Software is used for the calculation. | 2019 | January |  |  | 537 | 10 857 487,16
[11 empty] | NaturalGas | [14 empty] | February |  |  | 537 | 9 868 934,58
[26 empty] | March |  |  | 537 | 12 111 315,83
[26 empty] | April |  |  | 537 | 11 388 922,38
[26 empty] | May |  |  | 537 | 8 724 689,05
[26 empty] | June |  |  | 537 | 9 233 237,39
[26 empty] | July |  |  | 537 | 10 812 166,93
[26 empty] | August |  |  | 537 | 12 571 653,93
[26 empty] | September |  |  | 314.05 | 11 123 137,08 | Continuous monitoring since 09/2019
[26 empty] | October |  |  | 369 | 10 539 156,47
[26 empty] | November |  |  | 246.75 | 11 041 537,16
[26 empty] | December |  |  | 155.79 | 10 671 371,38
KHK-Štiepna jednotka (ŠJ) Vacuum Gasoil Hydrocracking (KHK-ŠJ) | [6 empty] | SO2 | KHK-ŠJ | Combustion unit | 72,99 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 35mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Periodic measurement and Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 58. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (SO2concentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 58. Software is used for the calculation. | 2019 | January |  |  | 537 | 20 325 059,15
[11 empty] | NaturalGas | [14 empty] | February |  |  | 537 | 18 124 243,84
[26 empty] | March |  |  | 537 | 20 067 047,62
[26 empty] | April |  |  | 537 | 19 524 366,91
[26 empty] | May |  |  | 537 | 17 890 306,35
[26 empty] | June |  |  | 537 | 18 276 067,17
[26 empty] | July |  |  | 537 | 18 624 950,56
[26 empty] | August |  |  | 537 | 20 726 770,17
[26 empty] | September |  |  | 208.06 | 14 401 448,90 | Continuous monitoring since 09/2019
[26 empty] | October |  |  | 172.95 | 14 137 325,69
[26 empty] | November |  |  | 127.14 | 20 091 586,55
[26 empty] | December |  |  | 66.91 | 20 650 162,25
Izomerizácia benzínov Light Naphtha Isomerisation | [6 empty] | SO2 | Izomerizácia benzínov | Combustion unit | 2,55 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 35mg/Nm3 | Representative hourly fuel consumption at combustion unit * emission factor of flue gas from used fuel type | Periodic measurement | Based on the calculation according to the calculation formula stated in BAT 58. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (SO2concentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 58. Software is used for the calculation. | 2019 | January |  |  | 67 | 1 414 909,78
[11 empty] | NaturalGas | [14 empty] | February |  |  | 67 | 1 264 206,93
[26 empty] | March |  |  | 67 | 1 196 643,69
[26 empty] | April |  |  | 67 | 624 662,29
[26 empty] | May |  |  | 67 | 756 835,72
[26 empty] | June |  |  | 67 | 939 138,47
[26 empty] | July |  |  | 67 | 844 036,08
[26 empty] | August |  |  | 67 | 1 341 132,12
[26 empty] | September |  |  | 18 | 1 052 246,31
[26 empty] | October |  |  | 18 | 751 767,25
[26 empty] | November |  |  | 18 | 1 113 384,64
[26 empty] | December |  |  | 18 | 938 622,72
Reforming 5 (CCR5) Continual Catalytic Reforming (CCR5) | [6 empty] | SO2 | CCR5 | Combustion unit | 92,5 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 35mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 58. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (SO2concentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 58. Software is used for the calculation. | 2019 | January |  |  | 198.07 | 52 281 294,66
[11 empty] | NaturalGas | [14 empty] | February |  |  | 324.64 | 44 720 074,64
[26 empty] | March |  |  | 308.59 | 46 414 364,62
[26 empty] | April |  |  | 317.37 | 42 405 896,68
[26 empty] | May |  |  | 25.37 | 26 417 689,82
[26 empty] | June |  |  | 58.13 | 22 629 921,14
[26 empty] | July |  |  | 83.65 | 36 298 177,82
[26 empty] | August |  |  | 143.96 | 42 026 739,28
[26 empty] | September |  |  | 229.62 | 46 725 425,98
[26 empty] | October |  |  | 302.79 | 40 881 000,88
[26 empty] | November |  |  | 134.13 | 61 751 406,50
[26 empty] | December |  |  | 66.56 | 58 799 461,44
Hydrogenačná rafinácia reformingu (HRR4) Naphtha Hydrotreating (HRR4) | [6 empty] | SO2 | HRR4 | Combustion unit | 18,87 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 35mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 58. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (SO2concentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 58. Software is used for the calculation. | 2019 | January |  |  | 187.06 | 12 957 081,76
[11 empty] | NaturalGas | [14 empty] | February |  |  | 289 | 11 696 445,02
[26 empty] | March |  |  | 270.23 | 12 635 267,48
[26 empty] | April |  |  | 287.11 | 11 057 995,68
[26 empty] | May |  |  | 29.97 | 10 482 327,64
[26 empty] | June |  |  | 57.17 | 8 562 851,46
[26 empty] | July |  |  | 82.67 | 10 360 008,00
[26 empty] | August |  |  | 130.51 | 11 357 141,50
[26 empty] | September |  |  | 207.16 | 12 533 111,20
[26 empty] | October |  |  | 268.51 | 10 775 470,34
[26 empty] | November |  |  | 127.72 | 13 731 381,78
[26 empty] | December |  |  | 66.97 | 12 493 898,34
Hydrogenčná rafinácia palív (HRP2) Naphtha Hydrotreating (HRP2) | [6 empty] | SO2 | HRP2 | Combustion unit | 6,13 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 35mg/Nm3 | Representative hourly fuel consumption at combustion unit * emission factor of flue gas from used fuel type | Periodic measurement | Based on the calculation according to the calculation formula stated in BAT 58. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (SO2concentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 58. Software is used for the calculation. | 2019 | January |  |  | 171 | 539 799,22
[11 empty] | NaturalGas | [14 empty] | February |  |  | 171 | 716 110,03
[26 empty] | March |  |  | 171 | 491 408,49
[26 empty] | April |  |  | 171 | 619 727,01
[26 empty] | May |  |  | 171 | 539 478,53
[26 empty] | June |  |  | 135,8 | 340 147,12
[26 empty] | July |  |  | 105 | 551 168,78
[26 empty] | August |  |  | 105 | 530 556,77
[26 empty] | September |  |  | 105 | 514 294,59
[26 empty] | October |  |  | 105 | 353 291,81
[26 empty] | November |  |  | 105 | 0 | Out of operation
[26 empty] | December |  |  | 105 | 322 703,14
Hydrogenčná rafinácia palív (HRP5) Gasoil Hydrotreating (HRP5) | [6 empty] | SO2 | HRP5 | Combustion unit | 17,6 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 35mg/Nm3 | Representative hourly fuel consumption at combustion unit * emission factor of flue gas from used fuel type | Periodic measurement | Based on the calculation according to the calculation formula stated in BAT 58. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (SO2concentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 58. Software is used for the calculation. | 2019 | January |  |  | 309 | 5 336 217,09
[11 empty] | NaturalGas | [14 empty] | February |  |  | 309 | 4 799 119,14
[26 empty] | March |  |  | 309 | 5 563 930,29
[26 empty] | April |  |  | 309 | 1 761 682,31
[26 empty] | May |  |  | 117,77 | 2 799 932,54
[26 empty] | June |  |  | 62 | 5 739 668,37
[26 empty] | July |  |  | 62 | 407 495,70
[26 empty] | August |  |  | 62 | 3 346 947,63
[26 empty] | September |  |  | 62 | 4 625 780,52
[26 empty] | October |  |  | 62 | 653 893,11
[26 empty] | November |  |  | 62 | 117 978,53
[26 empty] | December |  |  | 62 | 3 287 323,83
Hydrogenčná rafinácia palív (HRP6) Kerosine Hydrotreating (HRP6) | [6 empty] | SO2 | HRP6 | Combustion unit | 19,2 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 35mg/Nm3 | Representative hourly fuel consumption at combustion unit * emission factor of flue gas from used fuel type | Periodic measurement | Based on the calculation according to the calculation formula stated in BAT 58. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (SO2concentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 58. Software is used for the calculation. | 2019 | January |  |  | 10 | 0 | Out of operation
[11 empty] | NaturalGas | [14 empty] | February |  |  | 10 | 0 | Out of operation
[26 empty] | March |  |  | 10 | 0 | Out of operation
[26 empty] | April |  |  | 10 | 2 507 343,78
[26 empty] | May |  |  | 10 | 2 019 220,50
[26 empty] | June |  |  | 38,27 | 1 539 047,96
[26 empty] | July |  |  | 63 | 0 | Out of operation
[26 empty] | August |  |  | 63 | 0 | Out of operation
[26 empty] | September |  |  | 63 | 884 608,97
[26 empty] | October |  |  | 63 | 4 079 476,60
[26 empty] | November |  |  | 63 | 4 188 368,22
[26 empty] | December |  |  | 63 | 1 868 966,28
Hydrogenačná rafinácia palív (HRP7) Gasoil Hydrotreating (HRP7) | [6 empty] | SO2 | HRP7 | Combustion unit | 17,92 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 35mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 58. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (SO2concentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 58. Software is used for the calculation. | 2019 | January |  |  | 136.97 | 8 334 018,22
[11 empty] | NaturalGas | [14 empty] | February |  |  | 130.01 | 7 855 942,22
[26 empty] | March |  |  | 56.62 | 8 675 669,70
[26 empty] | April |  |  | 50.26 | 7 970 340,04
[26 empty] | May |  |  | 6.08 | 1 853 938,26
[26 empty] | June |  |  | 20.16 | 658 729,78
[26 empty] | July |  |  | 75.99 | 6 299 944,58
[26 empty] | August |  |  | 131.08 | 7 116 257,98
[26 empty] | September |  |  | 226.42 | 7 615 135,06
[26 empty] | October |  |  | 277.13 | 7 841 479,95
[26 empty] | November |  |  | 146.81 | 9 309 377,58
[26 empty] | December |  |  | 73.74 | 7 926 519,72
Fluidný katalytický krak (FCC) Fluid Catalytic Cracking (FCC) | [6 empty] | SO2 | FCC | Fluid catalytic cracking unit | 14,6 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 800mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 58. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (SO2concentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 58. Software is used for the calculation. | 2019 | January |  |  | 91.44 | 53 995 943,86
[11 empty] | NaturalGas | [14 empty] | February |  |  | 85.89 | 41 974 809,35
[26 empty] | March |  |  | 69.77 | 48 284 962,33
[26 empty] | April |  |  | 86.8 | 45 867 346,96
[26 empty] | May |  |  | - | 0 | Out of operation
[26 empty] | June |  |  | - | 0 | Out of operation
[26 empty] | July |  |  | - | 0 | Out of operation
[26 empty] | August |  |  | 108.42 | 34 012 344,03
[26 empty] | September |  |  | 76.42 | 55 159 521,73
[26 empty] | October |  |  | 86.13 | 55 684 255,48
[26 empty] | November |  |  | 94.46 | 51 581 701,72
[26 empty] | December |  |  | 82.44 | 49 906 757,64
Power plant | [6 empty] | SO2 | Power plant AMS 1 | Combustion unit | 867.8 | NaturalGas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 600 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation 714482Nm3/h | Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 58. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (SO2concentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 57 and BAT 58. Software is used for the calculation. | 2019 | January |  |  | 88.35 | 311397169.47 | Data consist of 3 places for Power plant
[11 empty] | OtherGases-Refinery Gas | [14 empty] | February |  |  | 138 | 216697141.6 | AMS1
[11 empty] | LiquidFuels | [14 empty] | March |  |  | 188.69 | 232267674 | AMS2
[26 empty] | April |  |  | 279.99 | 206699207.31 | AMS3
[26 empty] | May |  |  | 326.71 | 170969170.89
[26 empty] | June |  |  | 360.39 | 155139063.2
[26 empty] | July |  |  | 381.444 | 226387999.86
[26 empty] | August |  |  | 261.02 | 256527166.37
[26 empty] | September |  |  | 398.13 | 240571855.67
[26 empty] | October |  |  | 170.97 | 305226924.19
[26 empty] | November |  |  | 146.6 | 272845428.32
[26 empty] | December |  |  | 272.05 | 189678351.54 | During the exception, the Power plant is outside the bubble and it has an individual limit.
Power plant | [6 empty] | SO2 | Power plant AMS 2 | Combustion unit |  | NaturalGas | [13 empty] | 2019 | January
[11 empty] | OtherGases-Refinery Gas | [14 empty] | February |  |  | 2464.14 | 44646995.21
[11 empty] | LiquidFuels | [14 empty] | March |  |  | 2503.11 | 32764267.99
[26 empty] | April |  |  | 2053.64 | 931589.58
May
June
July
[26 empty] | August |  |  | 1888.76 | 179556.49
September
[26 empty] | October |  |  | 2046.68 | 127132.64
November
[26 empty] | December |  |  | 2039.84 | 45926158.99
Power plant | [6 empty] | SO2 | Power plant AMS 3 | Combustion unit |  | NaturalGas | [13 empty] | 2019 | January
[11 empty] | OtherGases-Refinery Gas | [14 empty] | February
[11 empty] | LiquidFuels | [14 empty] | March
[26 empty] | April |  |  | 2202.8 | 327664.9
May
June
July
[26 empty] | August |  |  | 478.23 | 246403.63
September
October
[26 empty] | November |  |  | 2494.71 | 400587.6
[26 empty] | December |  |  | 2041.83 | 56714960.9
[7 empty] | SO2 | [17 empty] | 2019 | January |  |  |  | Number
[26 empty] | February |  |  |  | Number
[26 empty] | March |  |  |  | Number
[26 empty] | April |  |  |  | Number
[26 empty] | May |  |  |  | Number
[26 empty] | June |  |  |  | Number
[26 empty] | July |  |  |  | Number
[26 empty] | August |  |  |  | Number
[26 empty] | September |  |  |  | Number
[26 empty] | October |  |  |  | Number
[26 empty] | November |  |  |  | Number
[26 empty] | December |  |  |  | Number
[7 empty] | SO2 | [17 empty] | 2019 | January |  |  |  | Number
[26 empty] | February |  |  |  | Number
[26 empty] | March |  |  |  | Number
[26 empty] | April |  |  |  | Number
[26 empty] | May |  |  |  | Number
[26 empty] | June |  |  |  | Number
[26 empty] | July |  |  |  | Number
[26 empty] | August |  |  |  | Number
[26 empty] | September |  |  |  | Number
[26 empty] | October |  |  |  | Number
[26 empty] | November |  |  |  | Number
[26 empty] | December |  |  |  | Number
[7 empty] | SO2 | [17 empty] | 2019 | January |  |  |  | Number
[26 empty] | February |  |  |  | Number
[26 empty] | March |  |  |  | Number
[26 empty] | April |  |  |  | Number
[26 empty] | May |  |  |  | Number
[26 empty] | June |  |  |  | Number
[26 empty] | July |  |  |  | Number
[26 empty] | August |  |  |  | Number
[26 empty] | September |  |  |  | Number
[26 empty] | October |  |  |  | Number
[26 empty] | November |  |  |  | Number
[26 empty] | December |  |  |  | Number
[7 empty] | SO2 | [17 empty] | 2019 | January |  |  |  | Number
[26 empty] | February |  |  |  | Number
[26 empty] | March |  |  |  | Number
[26 empty] | April |  |  |  | Number
[26 empty] | May |  |  |  | Number
[26 empty] | June |  |  |  | Number
[26 empty] | July |  |  |  | Number
[26 empty] | August |  |  |  | Number
[26 empty] | September |  |  |  | Number
[26 empty] | October |  |  |  | Number
[26 empty] | November |  |  |  | Number
[26 empty] | December |  |  |  | Number
Note on Q5: Mass of emitted substance per volume of waste gas under the following standard conditions: dry gas, temperature of 273,15 K, pressure of 101,3 kPa
Note on R5: See General considerations averaging period and reference conditions for emissions to air p6 CID 2014/738/EU Continuous measurements: BAT-AELs refer to monthly average values (averages of all valid hourly average values measured over a period of one month) Periodic measurements: BAT-AELS refer to the average value of three spot samples of at least 30 min each.
Note on S5: See General considerations averaging period and reference conditions for emissions to air p6 CID 2014/738/EU "For combustion units, catalytic cracking processes, and waste gas sulphur recovery units, reference conditions for oxygen are shown in Table 1 CID 2014/738/EU."

## Response to Annex NOx
Please only adjust the number of lines (addition or deletion)
| 1. General information | [5 empty] | Choose the pollutant | 2. Scope of the integrated emission management techniques and the applicable emission limit values | [14 empty] | 3. Information on the monitoring system |  | 4. Information on monitoring results | [5 empty] | Comments (optional)
| ProductionInstallation inspire ID (same as EU-Registry) |  | InstallationName (same as EU-Registry) | Operator name | Installation address (street, postal code, city) | Country |  | 2.1. List and description of combustion and process units covered by the integrated emission management techniques for NOx and SO2 | [5 empty] | 2.2 Applicable emission limit values for NOx and SO2 under the integrated emission management techniques | [10 empty] | Reference year
| Local ID | NameSpace | [5 empty] | Unit Name | Type of unit | Rated thermal input (for combustion units) | Fuel type(s) fired (for combustion units) | New or existing unit | Substantial and structural changes, e.g. in operation or fuel use, during the reporting period, which affected the applicable BAT-associated emission levels (BAT-AELs) | Date of implementation of the BAT conclusions (within 4 years of publication) | Applicable emission limit value | Confirm units: mg/Nm3 | averaging period | reference conditions | How these limit values were determined in relation to BAT 57 and BAT 58 set out in the CID 2014/738/EU | Which emission concentrations were considered for each unit concerned in relation to BAT 57 and BAT 58 and in comparison with the individual BAT-AELs and the BAT-associated environmental performance levels (BAT-AEPL) for waste gas sulphur recovery units | Which flue-gas flow rates (or other factors) were used as the weighing factor for each unit and how these were determined | Which other elements or factors were used to establish the limit values | 3.1.Description of the monitoring system used for determining the emissions under the integrated emission management techniques | 3.2. Details on the parameters measured and calculated, the type (direct, indirect) and methods of measurements used, the calculation factors used (and their justification) and the frequency of monitoring | yyyy | Month | (a) Average emission concentration across all units concerned (mg/Nm3, all monthly averages during a year) | (b) Total monthly emission across all units concerned (tonnes/month) | (c) average emission concentration for each unit concerned (mg/Nm3, all monthly averages during a year) | (d) flue gas flow rate for each unit concerned (Nm3/hour, all monthly averages during a year)
Name BUBLE NOx | 37012102.FACILITY | SK.MZP | SLOVNAFT, a. s. | SLOVNAFT, a. s. | Vlčie hrdlo 1 824 12 Bratislava | Slovakia | NOx | [6 empty] | 01/11/2018 | 270 | mg/Nm3 | month | 3% | Based on the calculation according to the calculation formula stated in BAT 57 | [5 empty] | 2019 | January | 220.86 | 151.19
[26 empty] | February | 219.93 | 128.92
[26 empty] | March | 191.3 | 118.93
[26 empty] | April | 199.97 | 105.52
[26 empty] | May | 223.11 | 67.69
[26 empty] | June | 231.35 | 68.46
[26 empty] | July | 267.77 | 112.95
[26 empty] | August | 245.58 | 122.04
[26 empty] | September | 207.11 | 118.46
[26 empty] | October | 227.29 | 138.49
[26 empty] | November | 206.81 | 130.04
[26 empty] | December | 241.1 | 156.02
Atmosfericko vákuová destilácia (AVD6) Atmospheric and Vacuum Crude Distillation (ACD6) | [6 empty] | NOx | AVD6 | Combustion unit | 66,75 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 200mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Periodic measurement and Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 57. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (NOxconcentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 57. Software is used for the calculation. | 2019 | January |  |  | 95 | 32 239 242,88
[11 empty] | NaturalGas | [14 empty] | February |  |  | 95 | 29 003 046,70
[26 empty] | March |  |  | 95 | 28 835 781,05
[26 empty] | April |  |  | 95 | 26 673 303,77
[26 empty] | May |  |  | 95 | 0 | Out of operation
[26 empty] | June |  |  | 95 | 0 | Out of operation
[26 empty] | July |  |  | 95 | 20 883 985,12
[26 empty] | August |  |  | 95 | 26 932 228,81
[26 empty] | September |  |  | 89.86 | 27 860 974,77 | Continuous monitoring since 09/2019
[26 empty] | October |  |  | 91.85 | 24 594 371,08
[26 empty] | November |  |  | 94.84 | 26 458 394,09
[26 empty] | December |  |  | 108.9 | 27 405 575,99
Atmosferická destilcáia (AD5) Atmospheric Distillation (AD5) | [6 empty] | NOx | AD5 | Combustion unit | 49,42 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 200mg/Nm3 | Representative hourly fuel consumption at combustion unit * emission factor of flue gas from used fuel type | Periodic measurement | Based on the calculation according to the calculation formula stated in BAT 57. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (NOxconcentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 57. Software is used for the calculation. | 2019 | January |  |  | 105 | 21 654 732,67
[11 empty] | NaturalGas | [14 empty] | February |  |  | 105 | 20 949 340,52
[26 empty] | March |  |  | 105 | 22 510 385,89
[26 empty] | April |  |  | 105 | 20 518 628,16
[26 empty] | May |  |  | 105 | 18 170 070,70
[26 empty] | June |  |  | 114,07 | 22 070 161,98
[26 empty] | July |  |  | 122 | 5 989 847,05
[26 empty] | August |  |  | 122 | 2 471 924,45
[26 empty] | September |  |  | 122 | 19 829 772,99
[26 empty] | October |  |  | 122 | 18 559 161,37
[26 empty] | November |  |  | 122 | 19 178 706,83
[26 empty] | December |  |  | 122 | 19 618 540,83
Hydrokrak ťažkých zvyškov (RHC) Residual Hydrocracker (RHC) | [6 empty] | NOx | RHC | Combustion unit | 49,26 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 200mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 57. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (NOxconcentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 57. Software is used for the calculation. | 2019 | January |  |  | 114.86 | 19 684 746,34
[11 empty] | NaturalGas | [14 empty] | February |  |  | 120.38 | 16 626 453,26
[26 empty] | March |  |  | 125.18 | 19 249 317,02
[26 empty] | April |  |  | 124.88 | 16 702 375,22
[26 empty] | May |  |  | - | 0 | Out of operation
[26 empty] | June |  |  | - | 0 | Out of operation
[26 empty] | July |  |  | - | 0 | Out of operation
[26 empty] | August |  |  | 100.07 | 6 193 470,74
[26 empty] | September |  |  | 112.46 | 16 414 059,40
[26 empty] | October |  |  | 121.81 | 4 640 788,34
[26 empty] | November |  |  | 118.56 | 15 679 727,46
[26 empty] | December |  |  | 118.32 | 17 949 986,32
Hydrogenácia vákuových destilátov (VGH) Vacuum Gasoil Hydrotreating (VGH) | [6 empty] | NOx | VGH | Combustion unit | 32,05 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 200mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 57. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (NOxconcentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 57. Software is used for the calculation. | 2019 | January |  |  | 160.72 | 9 252 976,96
[11 empty] | NaturalGas | [14 empty] | February |  |  | 146.64 | 7 608 846,22
[26 empty] | March |  |  | 164.01 | 8 680 380,70
[26 empty] | April |  |  | 170.76 | 8 034 934,26
[26 empty] | May |  |  | - | 0 | Out of operation
[26 empty] | June |  |  | - | 0 | Out of operation
[26 empty] | July |  |  | 174.92 | 2 326 357,92
[26 empty] | August |  |  | 138.65 | 6 558 344,16
[26 empty] | September |  |  | 139.23 | 7 840 390,48
[26 empty] | October |  |  | 142.05 | 8 169 640,28
[26 empty] | November |  |  | 144.98 | 7 514 484,24
[26 empty] | December |  |  | 139.95 | 7 208 960,56
Vodíkáreň (HPP) Hydrogen Production Plant (HPP) | [6 empty] | NOx | HPP | Combustion unit | 90,86 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 200mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 57. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (NOxconcentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 57. Software is used for the calculation. | 2019 | January |  |  | 67.38 | 58 924 251,18
[11 empty] | NaturalGas | [14 empty] | February |  |  | 66.07 | 48 649 543,22
[26 empty] | March |  |  | 66.71 | 59 122 598,80
[26 empty] | April |  |  | 65.93 | 50 429 831,32
[26 empty] | May |  |  | - | 0 | Out of operation
[26 empty] | June |  |  | - | 0 | Out of operation
[26 empty] | July |  |  | 54.87 | 29 610 967,60
[26 empty] | August |  |  | 55.76 | 42 422 563,88
[26 empty] | September |  |  | 59.44 | 50 845 159,86
[26 empty] | October |  |  | 59.49 | 46 107 969,14
[26 empty] | November |  |  | 60.8 | 52 969 278,46
[26 empty] | December |  |  | 62.84 | 55 876 792,56
KHK -Výroba vodíka (VV) KHK -Hydrogen Production Plant (KHK-VV) | [6 empty] | NOx | KHK -VV | Combustion unit | 74,94 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 200mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Periodic measurement and Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 57. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (NOxconcentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 57. Software is used for the calculation. | 2019 | January |  |  | 52 | 55 049 860,61
[11 empty] | NaturalGas | [14 empty] | February |  |  | 52 | 46 849 449,74
[26 empty] | March |  |  | 52 | 51 020 301,58
[26 empty] | April |  |  | 52 | 48 548 702,30
[26 empty] | May |  |  | 52 | 29 925 886,22
[26 empty] | June |  |  | 52 | 41 868 801,93
[26 empty] | July |  |  | 52 | 38 974 142,51
[26 empty] | August |  |  | 52 | 38 006 838,55
[26 empty] | September |  |  | 71.47 | 40 768 378,95 | Continuous monitoring since 09/2019
[26 empty] | October |  |  | 63 | 40 702 132,05
[26 empty] | November |  |  | 70.08 | 49 301 017,53
[26 empty] | December |  |  | 67.29 | 51 640 863,12
KHK-Vákuová destilácia (VD) KHK -Vacuum Distillation (KHK-VD) | [6 empty] | NOx | KHK-VD | Combustion unit | 29,6 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 200mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Periodic measurement and Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 57. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (NOxconcentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 57. Software is used for the calculation. | 2019 | January |  |  | 146 | 10 857 487,16
[11 empty] | NaturalGas | [14 empty] | February |  |  | 146 | 9 868 934,58
[26 empty] | March |  |  | 146 | 12 111 315,83
[26 empty] | April |  |  | 146 | 11 388 922,38
[26 empty] | May |  |  | 146 | 8 724 689,05
[26 empty] | June |  |  | 146 | 9 233 237,39
[26 empty] | July |  |  | 146 | 10 812 166,93
[26 empty] | August |  |  | 146 | 12 571 653,93
[26 empty] | September |  |  | 58.77 | 11 123 137,08 | Continuous monitoring since 09/2019
[26 empty] | October |  |  | 53.9 | 10 539 156,47
[26 empty] | November |  |  | 52.73 | 11 041 537,16
[26 empty] | December |  |  | 55.75 | 10 671 371,38
KHK-Štiepna jednotka (ŠJ) Vacuum Gasoil Hydrocracking (KHK-ŠJ) | [6 empty] | NOx | KHK-ŠJ | Combustion unit | 72,99 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 200mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Periodic measurement and Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 57. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (NOxconcentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 57. Software is used for the calculation. | 2019 | January |  |  | 146 | 20 325 059,15
[11 empty] | NaturalGas | [14 empty] | February |  |  | 146 | 18 124 243,84
[26 empty] | March |  |  | 146 | 20 067 047,62
[26 empty] | April |  |  | 146 | 19 524 366,91
[26 empty] | May |  |  | 146 | 17 890 306,35
[26 empty] | June |  |  | 146 | 18 276 067,17
[26 empty] | July |  |  | 146 | 18 624 950,56
[26 empty] | August |  |  | 146 | 20 726 770,17
[26 empty] | September |  |  | 68.56 | 14 401 448,90 | Continuous monitoring since 09/2019
[26 empty] | October |  |  | 65.04 | 14 137 325,69
[26 empty] | November |  |  | 62.62 | 20 091 586,55
[26 empty] | December |  |  | 72.62 | 20 650 162,25
Izomerizácia benzínov Light Naphtha Isomerisation | [6 empty] | NOx | Izomerizácia benzínov | Combustion unit | 2,55 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 200mg/Nm3 | Representative hourly fuel consumption at combustion unit * emission factor of flue gas from used fuel type | Periodic measurement | Based on the calculation according to the calculation formula stated in BAT 57. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (NOxconcentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 57. Software is used for the calculation. | 2019 | January |  |  | 144 | 1 414 909,78
[11 empty] | NaturalGas | [14 empty] | February |  |  | 144 | 1 264 206,93
[26 empty] | March |  |  | 144 | 1 196 643,69
[26 empty] | April |  |  | 144 | 624 662,29
[26 empty] | May |  |  | 144 | 756 835,72
[26 empty] | June |  |  | 144 | 939 138,47
[26 empty] | July |  |  | 144 | 844 036,08
[26 empty] | August |  |  | 144 | 1 341 132,12
[26 empty] | September |  |  | 81 | 1 052 246,31
[26 empty] | October |  |  | 81 | 751 767,25
[26 empty] | November |  |  | 81 | 1 113 384,64
[26 empty] | December |  |  | 81 | 938 622,72
Reforming 5 (CCR5) Continual Catalytic Reforming (CCR5) | [6 empty] | NOx | CCR5 | Combustion unit | 92,5 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 200mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 57. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (NOxconcentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 57. Software is used for the calculation. | 2019 | January |  |  | 165.66 | 52 281 294,66
[11 empty] | NaturalGas | [14 empty] | February |  |  | 177.73 | 44 720 074,64
[26 empty] | March |  |  | 180.62 | 46 414 364,62
[26 empty] | April |  |  | 169.62 | 42 405 896,68
[26 empty] | May |  |  | 117.26 | 26 417 689,82
[26 empty] | June |  |  | 113.05 | 22 629 921,14
[26 empty] | July |  |  | 114.69 | 36 298 177,82
[26 empty] | August |  |  | 134.38 | 42 026 739,28
[26 empty] | September |  |  | 166.05 | 46 725 425,98
[26 empty] | October |  |  | 169.14 | 40 881 000,88
[26 empty] | November |  |  | 167.76 | 61 751 406,50
[26 empty] | December |  |  | 163.43 | 58 799 461,44
Hydrogenačná rafinácia reformingu (HRR4) Naphtha Hydrotreating (HRR4) | [6 empty] | NOx | HRR4 | Combustion unit | 18,87 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 200mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 57. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (NOxconcentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 57. Software is used for the calculation. | 2019 | January |  |  | 50.19 | 12 957 081,76
[11 empty] | NaturalGas | [14 empty] | February |  |  | 56.44 | 11 696 445,02
[26 empty] | March |  |  | 57.39 | 12 635 267,48
[26 empty] | April |  |  | 58.29 | 11 057 995,68
[26 empty] | May |  |  | 56.51 | 10 482 327,64
[26 empty] | June |  |  | 51.21 | 8 562 851,46
[26 empty] | July |  |  | 44.76 | 10 360 008,00
[26 empty] | August |  |  | 49.35 | 11 357 141,50
[26 empty] | September |  |  | 56.52 | 12 533 111,20
[26 empty] | October |  |  | 56.6 | 10 775 470,34
[26 empty] | November |  |  | 58.36 | 13 731 381,78
[26 empty] | December |  |  | 58.26 | 12 493 898,34
Hydrogenčná rafinácia palív (HRP2) Naphtha Hydrotreating (HRP2) | [6 empty] | NOx | HRP2 | Combustion unit | 6,13 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 200mg/Nm3 | Representative hourly fuel consumption at combustion unit * emission factor of flue gas from used fuel type | Periodic measurement | Based on the calculation according to the calculation formula stated in BAT 57. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (NOxconcentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 57. Software is used for the calculation. | 2019 | January |  |  | 147 | 539 799,22
[11 empty] | NaturalGas | [14 empty] | February |  |  | 147 | 716 110,03
[26 empty] | March |  |  | 147 | 491 408,49
[26 empty] | April |  |  | 147 | 619 727,01
[26 empty] | May |  |  | 147 | 539 478,53
[26 empty] | June |  |  | 109,67 | 340 147,12
[26 empty] | July |  |  | 77 | 551 168,78
[26 empty] | August |  |  | 77 | 530 556,77
[26 empty] | September |  |  | 77 | 514 294,59
[26 empty] | October |  |  | 77 | 353 291,81
[26 empty] | November |  |  | 77 | 0 | Out of operation
[26 empty] | December |  |  | 77 | 322 703,14
Hydrogenčná rafinácia palív (HRP5) Gasoil Hydrotreating (HRP5) | [6 empty] | NOx | HRP5 | Combustion unit | 17,6 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 200mg/Nm3 | Representative hourly fuel consumption at combustion unit * emission factor of flue gas from used fuel type | Periodic measurement | Based on the calculation according to the calculation formula stated in BAT 57. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (NOxconcentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 57. Software is used for the calculation. | 2019 | January |  |  | 146 | 5 336 217,09
[11 empty] | NaturalGas | [14 empty] | February |  |  | 146 | 4 799 119,14
[26 empty] | March |  |  | 146 | 5 563 930,29
[26 empty] | April |  |  | 146 | 1 761 682,31
[26 empty] | May |  |  | 154,52 | 2 799 932,54
[26 empty] | June |  |  | 157 | 5 739 668,37
[26 empty] | July |  |  | 157 | 407 495,70
[26 empty] | August |  |  | 157 | 3 346 947,63
[26 empty] | September |  |  | 157 | 4 625 780,52
[26 empty] | October |  |  | 157 | 653 893,11
[26 empty] | November |  |  | 157 | 117 978,53
[26 empty] | December |  |  | 157 | 3 287 323,83
Hydrogenčná rafinácia palív (HRP6) Kerosine Hydrotreating (HRP6) | [6 empty] | NOx | HRP6 | Combustion unit | 19,2 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 200mg/Nm3 | Representative hourly fuel consumption at combustion unit * emission factor of flue gas from used fuel type | Periodic measurement | Based on the calculation according to the calculation formula stated in BAT 57. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (NOxconcentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 57. Software is used for the calculation. | 2019 | January |  |  | 71 | 0 | Out of operation
[11 empty] | NaturalGas | [14 empty] | February |  |  | 71 | 0 | Out of operation
[26 empty] | March |  |  | 71 | 0 | Out of operation
[26 empty] | April |  |  | 71 | 2 507 343,78
[26 empty] | May |  |  | 71 | 2 019 220,50
[26 empty] | June |  |  | 86,47 | 1 539 047,96
[26 empty] | July |  |  | 100 | 0 | Out of operation
[26 empty] | August |  |  | 100 | 0 | Out of operation
[26 empty] | September |  |  | 100 | 884 608,97
[26 empty] | October |  |  | 100 | 4 079 476,60
[26 empty] | November |  |  | 100 | 4 188 368,22
[26 empty] | December |  |  | 100 | 1 868 966,28
Hydrogenačná rafinácia palív (HRP7) Gasoil Hydrotreating (HRP7) | [6 empty] | NOx | HRP7 | Combustion unit | 17,92 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 200mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 57. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (NOxconcentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 57. Software is used for the calculation. | 2019 | January |  |  | 63.91 | 8 334 018,22
[11 empty] | NaturalGas | [14 empty] | February |  |  | 60.78 | 7 855 942,22
[26 empty] | March |  |  | 52.45 | 8 675 669,70
[26 empty] | April |  |  | 51.56 | 7 970 340,04
[26 empty] | May |  |  | 60.11 | 1 853 938,26
[26 empty] | June |  |  | 84.32 | 658 729,78
[26 empty] | July |  |  | 67.82 | 6 299 944,58
[26 empty] | August |  |  | 62.49 | 7 116 257,98
[26 empty] | September |  |  | 61.25 | 7 615 135,06
[26 empty] | October |  |  | 61.61 | 7 841 479,95
[26 empty] | November |  |  | 68.13 | 9 309 377,58
[26 empty] | December |  |  | 75.41 | 7 926 519,72
Fluidný katalytický krak (FCC) Fluid Catalytic Cracking (FCC) | [6 empty] | NOx | FCC | Fluid catalytic cracking unit | 14,6 | OtherGases-Refinery Gas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 300mg/Nm3 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation | Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 57. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (NOxconcentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 57. Software is used for the calculation. | 2019 | January |  |  | 48.84 | 53 995 943,86
[11 empty] | NaturalGas | [14 empty] | February |  |  | 43.36 | 41 974 809,35
[26 empty] | March |  |  | 47.24 | 48 284 962,33
[26 empty] | April |  |  | 55.82 | 45 867 346,96
[26 empty] | May |  |  | - | 0 | Out of operation
[26 empty] | June |  |  | - | 0 | Out of operation
[26 empty] | July |  |  | - | 0 | Out of operation
[26 empty] | August |  |  | 94.2 | 34 012 344,03
[26 empty] | September |  |  | 81.09 | 55 159 521,73
[26 empty] | October |  |  | 80.45 | 55 684 255,48
[26 empty] | November |  |  | 80.49 | 51 581 701,72
[26 empty] | December |  |  | 84.72 | 49 906 757,64
Power plant | [6 empty] | NOx | Power plant AMS 1 | Combustion unit | 867.8 | NaturalGas | Existing | No substantial and structural changes. We used same type of fuels during the reporting period. | [6 empty] | 300 | Flue -gas flow rates were used. Representative hourly flue gas flow at standard load of operation 714482Nm3/h | Continuous monitoring | Based on the calculation according to the calculation formula stated in BAT 58. The monitoring system is described in the monitoring plan. This BAT-AEL is expressed by the following formula: Σ (flue gas flow rate of the unit concerned) x (SO2concentration that would be achieved for that unit) __________________________________________________________________________________ Σ (flue gas flow rate of all units concerned) | Based on the calculation according to the calculation formula stated in BAT 57 and BAT 58. Software is used for the calculation. | 2019 | January |  |  | 369.31 | 311397169.47 | Data consist of 3 places for Power plant
[11 empty] | OtherGases-Refinery Gas | [14 empty] | February |  |  | 368.51 | 216697141.6 | AMS1
[11 empty] | LiquidFuels | [14 empty] | March |  |  | 314.05 | 232267674 | AMS2
[26 empty] | April |  |  | 355.76 | 206699207.31 | AMS3
[26 empty] | May |  |  | 308.78 | 170969170.89
[26 empty] | June |  |  | 343.94 | 155139063.2
[26 empty] | July |  |  | 411.03 | 226387999.86
[26 empty] | August |  |  | 366.84 | 256527166.37
[26 empty] | September |  |  | 349.79 | 240571855.67
[26 empty] | October |  |  | 350.22 | 305226924.19
[26 empty] | November |  |  | 341.4 | 272845428.32
[26 empty] | December |  |  | 402.17 | 189678351.54
Power plant | [6 empty] | NOx | Power plant AMS 2 | Combustion unit |  | NaturalGas | [13 empty] | 2019 | January
[11 empty] | OtherGases-Refinery Gas | [14 empty] | February |  |  | 373.11 | 44646995.21
[11 empty] | LiquidFuels | [14 empty] | March |  |  | 353.66 | 32764267.99
[26 empty] | April |  |  | 307.77 | 931589.58
May
June
July
[26 empty] | August |  |  | 413.13 | 179556.49
September
[26 empty] | October |  |  | 452.05 | 127132.64
November
[26 empty] | December |  |  | 413.67 | 45926158.99
Power plant | [6 empty] | NOx | Power plant AMS 3 | Combustion unit |  | NaturalGas | [13 empty] | 2019 | January
[11 empty] | OtherGases-Refinery Gas | [14 empty] | February
[11 empty] | LiquidFuels | [14 empty] | March
[26 empty] | April |  |  | 340.5 | 327664.9
May
June
July
[26 empty] | August |  |  | 144.99 | 246403.63
September
October
[26 empty] | November |  |  | 445.93 | 400587.6
[26 empty] | December |  |  | 403.29 | 56714960.9
[25 empty] | 2019 | January |  |  |  | Number
[26 empty] | February |  |  |  | Number
[26 empty] | March |  |  |  | Number
[26 empty] | April |  |  |  | Number
[26 empty] | May |  |  |  | Number
[26 empty] | June |  |  |  | Number
[26 empty] | July |  |  |  | Number
[26 empty] | August |  |  |  | Number
[26 empty] | September |  |  |  | Number
[26 empty] | October |  |  |  | Number
[26 empty] | November |  |  |  | Number
[26 empty] | December |  |  |  | Number
[25 empty] | 2019 | January |  |  |  | Number
[26 empty] | February |  |  |  | Number
[26 empty] | March |  |  |  | Number
[26 empty] | April |  |  |  | Number
[26 empty] | May |  |  |  | Number
[26 empty] | June |  |  |  | Number
[26 empty] | July |  |  |  | Number
[26 empty] | August |  |  |  | Number
[26 empty] | September |  |  |  | Number
[26 empty] | October |  |  |  | Number
[26 empty] | November |  |  |  | Number
[26 empty] | December |  |  |  | Number
[25 empty] | 2019 | January |  |  |  | Number
[26 empty] | February |  |  |  | Number
[26 empty] | March |  |  |  | Number
[26 empty] | April |  |  |  | Number
[26 empty] | May |  |  |  | Number
[26 empty] | June |  |  |  | Number
[26 empty] | July |  |  |  | Number
[26 empty] | August |  |  |  | Number
[26 empty] | September |  |  |  | Number
[26 empty] | October |  |  |  | Number
[26 empty] | November |  |  |  | Number
[26 empty] | December |  |  |  | Number
[25 empty] | 2019 | January |  |  |  | Number
[26 empty] | February |  |  |  | Number
[26 empty] | March |  |  |  | Number
[26 empty] | April |  |  |  | Number
[26 empty] | May |  |  |  | Number
[26 empty] | June |  |  |  | Number
[26 empty] | July |  |  |  | Number
[26 empty] | August |  |  |  | Number
[26 empty] | September |  |  |  | Number
[26 empty] | October |  |  |  | Number
[26 empty] | November |  |  |  | Number
[26 empty] | December |  |  |  | Number
Note on Q5: Mass of emitted substance per volume of waste gas under the following standard conditions: dry gas, temperature of 273,15 K, pressure of 101,3 kPa
Note on R5: See General considerations averaging period and reference conditions for emissions to air p6 CID 2014/738/EU Continuous measurements: BAT-AELs refer to monthly average values (averages of all valid hourly average values measured over a period of one month) Periodic measurements: BAT-AELS refer to the average value of three spot samples of at least 30 min each.
Note on S5: See General considerations averaging period and reference conditions for emissions to air p6 CID 2014/738/EU "For combustion units, catalytic cracking processes, and waste gas sulphur recovery units, reference conditions for oxygen are shown in Table 1 CID 2014/738/EU."

## Vocabularies
DO NOT MODIFY
Reference year | Type of unit | New or existing unit | Pollutant | Country | FuelInputValue
2017 | Combustion unit | New | SO2 | Austria | Biomass
2018 | Fluid catalytic cracking unit | Existing | NOx | Belgium | Coal
2019 | Waste gas sulfur recovery unit (Only for SO2) |  |  | Bulgaria | Lignite
|  |  |  | Croatia | Peat
|  |  |  | Cyprus | OtherSolidFuels-Coke
|  |  |  | Czechia | OtherSolidFuels-Patent Fuel
|  |  |  | Denmark | OtherSolidFuels-Tar
|  |  |  | Estonia | OtherSolidFuels-Other
|  |  |  | Finland | LiquidFuels
|  |  |  | France | NaturalGas
|  |  |  | Germany | OtherGases-Blast Furnace Gas
|  |  |  | Greece | OtherGases-Coke Oven Gas
|  |  |  | Hungary | OtherGases-Furnace Gas
|  |  |  | Iceland | OtherGases-LPG
|  |  |  | Ireland | OtherGases-Oxygen Steel
|  |  |  | Italy | OtherGases-Refinery Gas
|  |  |  | Latvia | OtherGases-Other
Liechtenstein
Lithuania
Luxembourg
Malta
Netherland
Norway
Poland
Portugal
Romania
Slovakia
Slovenia
Spain
Sweden
United Kingdom